Present:  Mark Barmasse, John Suprono, Peter Villa, Dave Terry, Mike Filanda and Anthony DeSimone (6:05)

Not Present:

Other Attendee(s) Scott Clayton, Public Utilities Administrator

- Call to Order

Mr. Barmasse called the February 6, 2024 meeting to order at 6:00 p.m.

- Approval of Minutes

  - Regular Meeting of January 2, 2024

Mr. Terry made a motion to approve the January 2, 2024 meeting minutes as presented, seconded by Mr. Suprono. Vote: 4-0, 1 abstained

- Public Remarks

  - No public

Mr. Desimone arrived

- Review of Correspondence

  - There has been recent interest on connecting 7 Bishop Hill Rd. to the sewer system. The property sits approx. 100+ ft from the nearest manhole. Mr. Clayton recommends that the future owner lay 8’ pipe up the street and install a new manhole.  A grinder pump maybe required, in which case connection points for the other two (2) houses nearby that are not connected to the sewer will need to be added for future use.

- Committee Reports

  - Joint Facilities

The Board reviewed the 2024/25 proposed budget which includes a 5% increase. The bar screen is currently being repaired. A Hebron generator continues to have a failure issue after it exercises

  - Operations, Management & Budget Committee

- Budget Status FY 23/24

Mr. Clayton reported on the 23/24 budget.  WPCA revenue is reporting at 69.1% and operating expenses are reporting at 66.8%. Mr. Barmasse requested a list of grinder pumps repairs and rebuilds for the next meeting.

23/24 revenue collected from water customers for Town Center and Royal Oaks is reporting at 37.6% and 39.9% respectively and Operations is reporting at 41.3% spent for Town Center and 38.4% spent at Royal Oaks. Copies of budget report distributed.

  - Public Water Systems

- Village Center Water System Operations

System is working fine.

- Royal Oaks Water System Operations

A dump valve and a well pump needed to be replaced.

- Hampton Woods Water System

Nothing to report

- Municipal Water System Update

Mr. DeSimone and Mr. Terry have been appointed to the East Hampton Water Committee.

  - Sewer Development

- Sewer Service Area Discussion

Nothing to report.

- Old Business, Discussion/Action

- Superintendent Status

Superintendent position is still pending. Mr. Cerreta continues to act as interim superintendent.

- PUA Status

Interviews were held on February 6, 2024.

- Capital Planning

- Nothing to report.

- New Business, Discussion/Action

- WPCA Budget Presentation FY 2024/25

Mr. Clayton presented the proposed 2024/25 Expense Budget for review and discussion.  Any changes or correction will be made at the March 5, 2024 meeting. Copies were distributed and made part of these minutes.

- Adjournment

Mr. Suprono made a motion to adjourn, seconded by Mr. DeSimone.  Vote: 6-0

The meeting was adjourned at 8:00 p.m.

Respectfully submitted,

Linda B. Connors

Recording Secretary